## Index
File | Description | Notes
result_summary.csv
FRT_Low-Frequency_1.csv
FRT_Low-Frequency_1
FRT_Low-Frequency_2.csv
FRT_Low-Frequency_2
FRT_Low-Frequency_3.csv
FRT_Low-Frequency_3
FRT_High-Frequency_1.csv
FRT_High-Frequency_1
FRT_High-Frequency_2.csv
FRT_High-Frequency_2
FRT_High-Frequency_3.csv
FRT_High-Frequency_3

## result_summary.csv
P_TR_ACC_REQ | TR_REQ | P_FINAL_ACC_REQ | P_MEAS | P_TARGET | P_TARGET_MIN | P_TARGET_MAX | F_MEAS | F_TARGET | STEP | FILENAME

## FRT_Low-Frequency_1.csv
TIME | AC_VRMS_1 | AC_IRMS_1 | AC_P_1 | AC_S_1 | AC_Q_1 | AC_PF_1 | AC_FREQ_1 | AC_INC_1 | AC_VRMS_2 | AC_IRMS_2 | AC_P_2 | AC_S_2 | AC_Q_2 | AC_PF_2 | AC_FREQ_2 | AC_INC_2 | AC_VRMS_3 | AC_IRMS_3 | AC_P_3 | AC_S_3 | AC_Q_3 | AC_PF_3 | AC_FREQ_3 | AC_INC_3 | P_MEAS | P_TARGET | P_TARGET_MIN | P_TARGET_MAX | F_MEAS | F_TARGET | EVENT

## FRT_Low-Frequency_2.csv
TIME | AC_VRMS_1 | AC_IRMS_1 | AC_P_1 | AC_S_1 | AC_Q_1 | AC_PF_1 | AC_FREQ_1 | AC_INC_1 | AC_VRMS_2 | AC_IRMS_2 | AC_P_2 | AC_S_2 | AC_Q_2 | AC_PF_2 | AC_FREQ_2 | AC_INC_2 | AC_VRMS_3 | AC_IRMS_3 | AC_P_3 | AC_S_3 | AC_Q_3 | AC_PF_3 | AC_FREQ_3 | AC_INC_3 | P_MEAS | P_TARGET | P_TARGET_MIN | P_TARGET_MAX | F_MEAS | F_TARGET | EVENT

## FRT_Low-Frequency_3.csv
TIME | AC_VRMS_1 | AC_IRMS_1 | AC_P_1 | AC_S_1 | AC_Q_1 | AC_PF_1 | AC_FREQ_1 | AC_INC_1 | AC_VRMS_2 | AC_IRMS_2 | AC_P_2 | AC_S_2 | AC_Q_2 | AC_PF_2 | AC_FREQ_2 | AC_INC_2 | AC_VRMS_3 | AC_IRMS_3 | AC_P_3 | AC_S_3 | AC_Q_3 | AC_PF_3 | AC_FREQ_3 | AC_INC_3 | P_MEAS | P_TARGET | P_TARGET_MIN | P_TARGET_MAX | F_MEAS | F_TARGET | EVENT

## FRT_High-Frequency_1.csv
TIME | AC_VRMS_1 | AC_IRMS_1 | AC_P_1 | AC_S_1 | AC_Q_1 | AC_PF_1 | AC_FREQ_1 | AC_INC_1 | AC_VRMS_2 | AC_IRMS_2 | AC_P_2 | AC_S_2 | AC_Q_2 | AC_PF_2 | AC_FREQ_2 | AC_INC_2 | AC_VRMS_3 | AC_IRMS_3 | AC_P_3 | AC_S_3 | AC_Q_3 | AC_PF_3 | AC_FREQ_3 | AC_INC_3 | P_MEAS | P_TARGET | P_TARGET_MIN | P_TARGET_MAX | F_MEAS | F_TARGET | EVENT

## FRT_High-Frequency_2.csv
TIME | AC_VRMS_1 | AC_IRMS_1 | AC_P_1 | AC_S_1 | AC_Q_1 | AC_PF_1 | AC_FREQ_1 | AC_INC_1 | AC_VRMS_2 | AC_IRMS_2 | AC_P_2 | AC_S_2 | AC_Q_2 | AC_PF_2 | AC_FREQ_2 | AC_INC_2 | AC_VRMS_3 | AC_IRMS_3 | AC_P_3 | AC_S_3 | AC_Q_3 | AC_PF_3 | AC_FREQ_3 | AC_INC_3 | P_MEAS | P_TARGET | P_TARGET_MIN | P_TARGET_MAX | F_MEAS | F_TARGET | EVENT

## FRT_High-Frequency_3.csv
TIME | AC_VRMS_1 | AC_IRMS_1 | AC_P_1 | AC_S_1 | AC_Q_1 | AC_PF_1 | AC_FREQ_1 | AC_INC_1 | AC_VRMS_2 | AC_IRMS_2 | AC_P_2 | AC_S_2 | AC_Q_2 | AC_PF_2 | AC_FREQ_2 | AC_INC_2 | AC_VRMS_3 | AC_IRMS_3 | AC_P_3 | AC_S_3 | AC_Q_3 | AC_PF_3 | AC_FREQ_3 | AC_INC_3 | P_MEAS | P_TARGET | P_TARGET_MIN | P_TARGET_MAX | F_MEAS | F_TARGET | EVENT